# HOW TO MAINTAIN YOUR IONIZER IN HARD WATER AREAS

Dear Customer,

You will know that you have hard water if you have one or several of the following:

- Mineral rings/deposits on water glasses and water jugs.

- A build up of scale in the bathtub/shower/toilet; this can appear simply as an area of discoloration but requires special cleaners to remove.

- Coffee makers, kettles, other appliances that use hot water, have scale deposits in them. These appear as a hard, white layer in the bottom of the appliance, and pieces may break off and float in the water.

- It is more difficult to form a lather with soap when bathing or doing household chores and the soap is easy to wash off.

- If your water is extremely hard, (over 18g/gal), the ionizer warranty is not valid. Please call us for advice. 1-877-770-5247

Because water ionizers use alkaline minerals to ionize the water, they actually increase the concentration of these minerals in the alkaline water. Therefore if you have hard water, scale is very likely to build up inside the ionizer -- primarily where the alkaline water leaves the ionization chamber and travels out of the ionizer spout. (The ionization plates (electrodes) have their own self-cleaning system, so you don’t need to be concerned about these.)

Besides the maintenance steps listed below, you may want to consider prevention in the form of the new “Eco-Conditioner Anti-Scaling System” by Ionlife. Call for details or to order. 1-877-770-5247 (toll-free)

# MAINTENANCE

Daily:

Set your ionizer to Acid level 4, and run water through your ionizer on        this setting for a total of about 3 minutes a day. You can run this all at once or break it down into smaller time intervals if that is more convenient to you.

NOTE: if you have a Microlite or Neptune, you do not need to do this, but you do need to allow the ionizer to run the cleaning cycle every time it is used.

Bi-Monthly:

Once every 2 months, (or more frequently if your water hardness is between 14 and 18g/gal), unscrew the metal flex-hose from the top of the ionizer. Put this to soak for 6 hours in white vinegar. At the same time, lie the ionizer on its back and point the swivel attachment for the flex-hose toward the ceiling. Pour white vinegar into the opening until it is full. Let this sit for 6 hours, topping up the level of vinegar as it is absorbed into the ionizer.

Annually:

When it’s time to change your filter: before you change the filter, follow the following steps to pump white vinegar through your ionizer, using a small fish tank pump or small water-garden pump ($15 - $40):

a. Unplug the ionizer from the electrical outlet. Remove as much water from the ionizer as possible by blowing through the silver tube, inlet tube and acid tube. Also remove the filter and shake as much water from it as you can, then replace it. The filter must be securely placed in the ionizer for cleaning the ionizer in this method.

b. Prepare a container of white vinegar for the pump. Attach the INLET hose from the ionizer to the pump. Depending on the pump you purchase, this may require some minor modifications so that the hose will fit into the pump properly. Submerge the pump in the white vinegar.

c. Plug the small fish tank pump or small water-garden pump in to the electrical outlet. (A GFI safety outlet should be used, to protect against electric shock).

d. Place both the silver tube and acid water tube from the ionizer into the white vinegar container so the entire system has the vinegar circulating through it.

e. Pump the vinegar through the ionizer for between 2 and 12 hours.

f. Reattach the ionizer to your water source and flush the unit with water for 10-20 minutes to clean out the vinegar from the unit.

g. Change your filter following the instructions in your manual and begin using your ionizer again.

As you are probably aware, scale build-up affects all your pipes, appliances, cookware, etc.  By following this maintenance program, you’ll keep your ionizer in tip-top condition for years to come and you’ll minimize the likelihood of its needing repair at a later date.